## Cover page
KAUST
FM Project Request # |  |  |  |  | 8958
TENDER DOCUMENTS:
BILL OF QUANTITIES
REVISION-0
SUPPLY AND INSTALLATIONS
CONCERNED BUILDING: |  |  | Building 4, Level 3, Rm# 4-3750.
| ● | Installation of 3 phase 32A socket and exhaust connection for oven EAR 9399
Established on: |  | 2024-12-01
Date received: |  |  | Requestor: |  | Contact No.
Prepared by: |  |  | Verified by: |  | Approved by:

## Bill of Quantity
PR #9442 EAR#9399 | Installation of 3 phase 32A socket and exhaust connection for oven EAR 9399 |  |  |  |  | Date: |  | 2024-12-01
LOCATION: | Building 4, Level 3, Rm# 4-3750.
BILL OF QUANTITIES
REF | DESCRIPTION | Unit | QTY | SUPPLY |  | INSTALLATION |  | S. + I.
|  |  |  | U.P. | TOTAL | U.P. | TOTAL | UNIT PRICE | TOTAL
A | Civil/Architectural
D | Electrical
1 | Supply and install 15 Amp 3-phase circuit breaker (Eaton GHP) including bus bar link and all required accessories. Any modification required in the Panel . The New circuit breaker shall match with existing frame size, short circuit value. | Unit | 1
2 | Supply and install 1C X4mm² THHN/THWN. | Rol | 5
3 | Supply and install 1-inch EMT conduit complete with support and accessories. | Lm | 40
4 | Supply and install 1-inch flexible conduit complete with support and accessories. | Lm | 6
5 | Supply and install 16-Amps 3-ph special socket (male and female). | Unit | 1
6 | Testing and commissioning: Perform Continuity test, IR test for new wires, testing, functional test of socket and CB Tagging for electrical points (wires & color coding/conduits). Updated panel drawings reflecting all new termination. | Lot | 1
TOTAL (SAR)
TOTAL (USD)
VAT 5%
TOTAL + VAT (SAR)
TOTAL + VAT (USD)

## take-off trade (2) (hidden)
SAUDI OGER | [17 empty] | DATE: |  |  |  | 2024-12-01 | ORIG.DATE:
LOCATION: | [11 empty] | QTY. SURVEYOR - D. DOMINGUEZ | [10 empty] | DATE ISSUED;
BILL OF QUANTITIES | [11 empty] | TAKE-OFF QUANTITIES | [10 empty] | 2010-04-10
Ref. | Description | U | Total | DETAILS | COMPUTATION |  |  |  | Col
[5 empty] | Nb | Length | Width | High | N° | COL1 | COL2 | COL3 | COL4 | COL5 | COL6 | COL 1 | COL 2 | COL 3 | COL 4 | COL 5 | COL 6 | TOTAL
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0
[9 empty] | 3 |  |  | 0 | [5 empty] | 0