## Introduction

  - {{ introduction }}

- Scope of Work

# {%p for trade in scope %}

# {{ trade.name }}

{%p for item in trade.works %}

{{ item }}

- {%p endfor %}

{%p endfor %}

## 3.  General, Codes, and Standards

  - All work shall be carried out in accordance with applicable standard and comply with KAUST standard/specification.

  - The work shall comply with the latest edition of the international codes and standards as a minimum requirement.

  - All work shall comply with KAUST Work Permit and other HSE related policies and procedures.

  - All work shall follow KAUST quality procedures,

  - Submit material specification submittals, MRI(s), RFI(s) for approval.

  - Submit shop drawings for approval prior to any project execution.

## 4. Documentation

  - Upon project completion, IHP shall submit project documentation included but not limited to material selection, specification, RFI, Testing and Commissioning documents, and as-built drawings as per KAUST Technical Library standard.